[image: image1.png]AUTOMATIC
SISYSTEMS

[[EIR GROUP






ENGINEERING SPECIFICATIONS
PMD 335 Swing Gate
SECTION 11 14 00– Pedestrian Access Control Equipment (Gates/Turnstiles)

PART I – GENERAL
1.01 SECTION INCLUDES

A. This section covers the furnishing and installation of a Swing Gate for pedestrian access control.
1.02 RELATED SECTIONS
** NOTE TO SPECIFIER ** Add required sections to this project

1.03 REFERENCES
B. The pedestrian swing gate shall be compliant with EC standards.

1.04 SYSTEM REQUIREMENTS
C. The pedestrian swing gate shall control and be able to restrict pedestrian traffic between public and secure areas

D. Shall feature swinging door to securely block the pedestrian’s path and prevent access in restricted areas without authorisation

E. Shall provide a standard point of access for the evacuation of buildings in the event of an emergency and a wider passageway for people with reduced mobility and service personnel
F. Shall be bi-directional, allowing traffic in both directions. Each direction shall be independently configurable in one of three states:

1. Free: all persons are authorised to pass under all conditions

2. Controlled: each person must present a valid means of authentication to the reader before being authorised to pass

3. Locked: no persons are authorised to pass, and authentication means are ignored

G. Shall use the building access control system to grant or deny access to the facility and operate with a variety of user authentication devices
H. Design of the unit shall be spacious enough to accommodate two (2) readers (one for each direction) and able to integrate the reader into its housing or to accommodate a top-mounted reader

I. Shall be designed to guarantee user safety and ease of passage
J. Design of the swing gate shall provide visual notifications for intuitive process and high throughput
K. Can be implemented in single lane facing a wall, railing or other type of obstacle
1.05 SUBMITTALS

L. Submit product data: equipment description, dimensions, electrical wiring diagrams for installation, and manufacturer's technical manuals on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation methods.
4. Operation and maintenance manuals.

M. Provide shop drawings and indicate component connections and location, anchorage methods and location, and installation details.

1.06 DELIVERY, STORAGE AND HANDLING

N. Deliver equipment to job site in manufacturer’s packaging, undamaged and complete with installation instructions.

O. Store off of the ground, under cover, protected from weather, construction activities and debris.

1.07 PROJECT/SITE CONDITIONS

P. Install security entrance lane on a level finished floor.
1.08 QUALITY ASSURANCE

Q. All components and sub-assemblies shall be manufactured in the European Union

R. Manufacturer Qualifications: 

1. Manufacturer shall be a company specialising in designing and manufacturing swing gates with a proven minimum experience of fifteen (15) years

2. Manufacturer with well-proven experience in public transport is recommended

3. Manufacturer shall have a Quality Management System compliant with ISO 9001:2000.

S. Source Limitations: obtain Swing Gates through one source from Automatic Systems.

1.09 WARRANTY

T. Automatic Systems warranties its products against defects in material and workmanship for a period of two (2) years from the date of invoicing. This warranty excludes glass breakage, normal wear on finishes or damage that occurs due to abuse or misuse. Obtain full warranty terms from Automatic Systems.
PART II – PRODUCTS
2.01 MANUFACTURERS
U. Manufacturers: subject to compliance with requirements, provide products by one of the following:

1. AUTOMATIC SYSTEMS, 5 Avenue Mercator, 1300 Wavre, BELGIUM


Phone : +32-(0)10 230 211   Fax : +32-(0)10 230 202


Homepage : www.automatic-systems.com   E-mail : asmail@automatic-systems.com
V. Products:

1. PMD Swing Gate, Model PMD 335
2.02 CONSTRUCTION
W. Casing

1. Casing shall be manufactured from brushed one and one half (1,5) mm thick stainless steel type AISI 304
2. Panels on both sides of the obstacle shall be manufactured from brushed one and one half (1,5) mm thick stainless steel type AISI 304
X. Side panels

** NOTE TO SPECIFIER ** RAL 5018 painted steel is the standard finish for the side panels. For an additional cost, customised finishes are available as options listed in brackets to perfectly suit all architectural surroundings.

Delete the following subparagraphs in brackets if no customised finishes are required for side panels, or retain as necessary.
1. Side hinged panels on the opposite side of the obstacle shall be made of painted RAL 5018 two (2) mm thick steel type ST37 and locked with security locks
2. [Side hinged panels on the opposite side of the obstacle shall be made of painted RAL xxxx (to be specified) two (2) mm thick steel type ST37 and locked with security locks]
3. [Side hinged panels on the opposite side of the obstacle shall be made of brushed two (2) mm thick stainless steel type AISI 304 and locked with security locks]
Y. Swinging door
1. To be manufactured from monolithic clear twelve (12) mm thick tempered glass
Z. Enclosure

1. Design of the unit’s enclosure shall ensure an IP 40 degree of protection

2.03 DIMENSIONS
AA. Lane width: 
** NOTE TO SPECIFIER ** Select from the following two (2) subparagraphs for the width of the passageway
1. 900 mm (35 3/7 in)
2. 914 mm (36 in)
AB. Dimensions
1. Cabinet Length: 1270 mm (50 in) maximum
2. Cabinet Height: 1000 mm (38 1/4 in) maximum
3. Cabinet Width: 355 mm (14 in) maximum
2.04 OPERATION
AC. Normal Operation (available for “Normally Closed & Controlled” configuration)
1. In stand-by position, the passageway shall be securely blocked by means of a swinging door
2. Upon receipt of opening pulse from the access control system the swinging door shall open in the passage direction, consequently the passageway is completely clear

3. The door immediately closes after passage or after an adjustable time-out

AD. Power Failure
1. In case of emergency or power failure, the swing gate shall be opened by intrinsic mechanical energy in the selected opening direction (Fail-Safe), without any back-up battery or equivalent
2. After the power supply has been restored, the unit shall return to its previous operating mode.

2.05 SECURITY
AE. Shall provide swinging door to securely block the passageway:

** NOTE TO SPECIFIER ** 1000 mm half-height doors are the standard height for the PMD 335 Swing Gate. For an additional cost, other heights are available as options listed in brackets for enhanced physical security.
Delete the following subparagraphs in brackets if no optional height is required, or retain the height that is appropriate for the project.

1. 1000 mm (39 in) half-height doors
2. [1200 mm (47 in) half-height doors]
3. [1700 mm (67 in) full-height doors and anti-climb panels made of 12 mm thick clear tempered glass]
4. [1900 mm (74 in) full-height doors and anti-climb panels made of 12 mm thick clear tempered glass]
AF. Shall have electromechanical locking integrated. The doors shall be electromechanically blocked in the closed position to prevent any attempted break-in
AG. The cabinet’s side panels shall be key-locked
2.06 SAFETY
AH. In case of emergency or power failure, the swinging door shall be opened by intrinsic mechanical energy (Fail-Safe), without any back-up battery or equivalent
AI. Shall provide minimum 900 mm (35 3/7 in) wide passageway to insure equal access to people with reduced mobility
AJ. Passage shall be electronically monitored in both directions to ensure user safety and prevent door from closing when a user is standing between the doors:
1. If a presence is detected in the obstacle opening area, the swinging door shall immediately stop its movement. The obstacle will operate again after the safety zone is clear
2. If a presence is detected in the obstacle closing area, the swinging door shall immediately stop its movement or re-open depending on the selected mode. The obstacle will operate again after the safety zone is clear
AK. Shall have an electronic torque limiter to protect people passing through the equipment while the swinging door is in motion and guarantee a safe movement
AL. Shall be able to stop door’s movement when an obstacle is detected
AM. In the open position, the swinging door shall not interfere in the passage and completely recess alongside the cabinet providing a fully clear passageway as well as safety egress
2.07 PEDESTRIAN GUIDANCE
AN. Visual notification with clear graphics shall be incorporated into each passageway (one for each direction) to provide status of the lane, to control flow and to warn users

** NOTE TO SPECIFIER ** Orientation pictograms are the standard visual notification. For an additional cost, a function pictogram is available as an option listed in brackets for enhanced user guidance.
Delete the following subparagraph in brackets if no additional function pictogram is required, or retain as necessary.

AO. [To improve user guidance, the swing gate can integrate an additional visual notification for indication of valid or invalid authentication]
2.08 DRIVE UNIT
AP. Three-phase asynchronous geared motor combined with crank-and-rod linkages ensuring perfect mechanical locking in both extreme positions
AQ. Variable-speed controller ensuring progressive accelerations and gradual decelerations, for a safe movement without vibrations
2.09 CONTROLLER
AR. Microprocessor-based controller with the following characteristics:

1. DIP switches to set the main operating modes and functional parameters

2. LED indicators showing the status of the inputs and outputs
2.010 POWER SUPPLY
AS. Power supply:

** NOTE TO SPECIFIER ** 230 Volts AC 50/60 Hz is the standard power supply. For an additional cost, 120 Volts AC 60 Hz is available as an option in brackets.

Retain one of the two following subparagraphs that is appropriate for the project.

1. 230 Volts AC 50/60 Hz
2. [120 Volts AC 60 Hz]
AT. Nominal consumption in operation: 150 W maximum
2.011 PERFORMANCES
AU. Opening Time & Closing Time

1. The opening time of the doors shall be maximum 5 seconds

2. The closing time of the doors shall be maximum 4 seconds
AV. MCBF: 1.000.000 average number of cycles between breakdowns, when respecting recommended maintenance

AW. Operating Temperatures: 0 to +50 degrees Celsius (+32 to +122 degrees Fahrenheit)
2.012 OPTIONAL EQUIPMENT
** NOTE TO SPECIFIER ** Delete the following subparagraphs in brackets if no optional equipment is required, or add as necessary.
1. [Customised glass doors with pattern or logo]
2. [Heating resistance for operation to -20 degrees Celsius (-29 degrees Fahrenheit)]
PART III – EXECUTION
2.013 INSPECTION
AX. Installer must examine the installation location and advise the Contractor of any site conditions inconsistent with proper installation of the product. These conditions include but are not limited to the following:
1. Swing gate must be installed on a level concrete pad
2. Power supply and control wiring must be installed. Follow manufacturer’s recommendations
AY. Proceed with installation only after unsatisfactory conditions have been corrected.

2.014 INSTALLATION
AZ. Install swing gate in strict accordance with manufacturer’s instructions. Set units level and plumb. Anchor securely into place.
2.015 ADJUSTMENT
BA. Installer shall adjust swing gate for proper performance after installation.

2.016 INSTRUCTION
BB. A factory trained installer shall demonstrate to the owner’s maintenance crew the proper operation and the necessary service requirements of the equipment, including exterior maintenance. 

2.017 CLEANING
BC. Clean turnstile and area carefully after installation to remove excess caulk, dirt and labels.

2.018 MAINTENANCE
BD. Maintain the equipment according to the manufacturer’s instructions.
Automatic Systems reserves the right to change this specification at any time without notice.
END OF SECTION

PMD335-ES-EN-00

                                                                                      SECTION 11 14 00 - 1
PMD335-ES-EN-00

                                                                                      SECTION 11 14 00 - 2

[image: image1.png]