[image: image1.png]AUTOMATIC
SISYSTEMS

[[EIR GROUP






ENGINEERING SPECIFICATIONS
SL 930 Swing Gate
SECTION 11 14 00– Pedestrian Access Control Equipment (Gates/Turnstiles)

PART I – GENERAL
1.01 SECTION INCLUDES

A. This section covers the furnishing and installation of a Swing Gate for pedestrian access control.
1.02 RELATED SECTIONS
** NOTE TO SPECIFIER ** Add required sections to this project

1.03 REFERENCES
B. The pedestrian swing gate shall be compliant with EC standards.

1.04 SYSTEM REQUIREMENTS
C. The pedestrian swing gate shall control and be able to restrict pedestrian traffic between public and secure areas

D. Shall feature swinging door to securely block the pedestrian’s path and prevent access in restricted areas without authorisation

E. Shall provide a standard point of access for the evacuation of buildings in the event of an emergency and a wider passageway for people with reduced mobility and service personnel
F. Shall be bi-directional, allowing traffic in both directions
G. Shall use the building access control system to grant or deny access to the facility and operate with a variety of user authentication devices
H. Shall be designed to guarantee user safety and ease of passage
I. Can be implemented in single lane facing a wall, railing or other type of obstacle
1.05 SUBMITTALS

J. Submit product data: equipment description, dimensions, electrical wiring diagrams for installation, and manufacturer's technical manuals on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation methods.
4. Operation and maintenance manuals.

K. Provide shop drawings and indicate component connections and location, anchorage methods and location, and installation details.

1.06 DELIVERY, STORAGE AND HANDLING

L. Deliver equipment to job site in manufacturer’s packaging, undamaged and complete with installation instructions.

M. Store off of the ground, under cover, protected from weather, construction activities and debris.

1.07 PROJECT/SITE CONDITIONS

N. Install security entrance lane on a level finished floor.
1.08 QUALITY ASSURANCE

O. All components and sub-assemblies shall be manufactured in the European Union

P. Manufacturer Qualifications: 

1. Manufacturer shall be a company specialising in designing and manufacturing swing gates with a proven minimum experience of fifteen (15) years

2. Manufacturer with well-proven experience in public transport is recommended

3. Manufacturer shall have a Quality Management System compliant with ISO 9001:2000.

Q. Source Limitations: obtain Swing Gates through one source from Automatic Systems.

1.09 WARRANTY

R. Automatic Systems warranties its products against defects in material and workmanship for a period of two (2) years from the date of invoicing. This warranty excludes glass breakage, normal wear on finishes or damage that occurs due to abuse or misuse. Obtain full warranty terms from Automatic Systems.
PART II – PRODUCTS
2.01 MANUFACTURERS
S. Manufacturers: subject to compliance with requirements, provide products by one of the following:

1. AUTOMATIC SYSTEMS, 5 Avenue Mercator, 1300 Wavre, BELGIUM


Phone : +32-(0)10 230 211   Fax : +32-(0)10 230 202


Homepage : www.automatic-systems.com   E-mail : asmail@automatic-systems.com
T. Products:

1. SL Swing Gate, Model SL 930
2.02 CONSTRUCTION
U. Housing
1. Housing shall be manufactured from brushed stainless steel type AISI 304
V. Swinging door
1. To be manufactured from monolithic clear ten (10) mm thick tempered glass
W. Enclosure

1. Design of the unit’s enclosure shall insure an IP 43 degree of protection

2.03 DIMENSIONS
X. Lane width: 
** NOTE TO SPECIFIER ** Make choice in the following two (2) subparagraphs for the width of the passageway
1. 900 mm (35 3/7 in)
2. 914 mm (36 in)
Y. Dimensions
1. Cabinet Diameter: ø215 mm (8 1/2  in) maximum
2. Cabinet Height: 1030 mm (40 5/9 in) maximum
2.04 OPERATION
Z. Normal Operation (available for “Normally Closed & Controlled” configuration)
1. In stand-by position, the passageway shall be securely blocked by means of swinging door
2. Upon receipt of opening pulse from the access control system the swinging door shall open in the passage direction, consequently the passageway is completely clear

3. The door automatically closes after an adjustable time-out

AA. Emergency Operation

1. The unit shall have an input in order to receive the “fire alarm” signal. When the emergency signal is activated, the swinging door shall open in the selected direction and remain open

2. This operating mode continues as long as the emergency signal is active. After the emergency signal has been turned off, the unit shall return to its previous operating mode.
AB. Power Failure
1. In case of power failure, the swing gate shall be unlocked and shall freely rotate (Fail-Safe)
2. After the power supply has been restored, the unit shall return to its previous operating mode.
2.05 SECURITY
AC. Shall provide swinging door to securely block the passageway:

** NOTE TO SPECIFIER ** 1000 mm half-height door is the standard height for the SL 930 Swing Gate. For an additional cost, another height is available as an option listed in brackets for enhanced physical security.
Delete the following subparagraphs in brackets if no optional height is required, or retain the height that is appropriate for the project.

1. 1000 mm (39 3/8  in) half-height doors
2. [1200 mm (47 in) half-height doors]
AD. Shall have an electromechanical locking integrated. The door shall be electromechanically blocked in the closed position to prevent any attempted break-in
AE. The swinging obstacle shall not be-removable without appropriate tools

2.06 SAFETY
AF. In case of power failure, the swinging door shall be unlocked and  shall freely rotate allowing the user to manually push the door out of the way in either direction
AG. Shall provide minimum 900 mm (35 3/7 in) wide passageway to ensure equal access to people with reduced mobility
AH. Shall be able to stop and reverse door’s movement when an obstacle is detected and make successive attempts to complete the cycle. These attempts shall be made with reduced strength to protect the user
AI. In the open position, the swinging door shall not block the passage, providing a fully clear passageway as well as safety egress
2.07 DRIVE UNIT
AJ. Shall have a power-assisted drive to ensure ease of passage

AK. Variable-speed controller ensuring progressive accelerations and gradual decelerations, for safe movement without vibrations
AL. Swinging door’s movement shall be monitored by a position encoder

2.08 CONTROLLER
AM. Microprocessor-based controller with the following characteristics:

1. LCD display to set operating modes, advanced parameters and to provide diagnostics for quick detection of problem source

2. LED indicators showing the status of the inputs and outputs
2.09 POWER SUPPLY
AN. Power supply:

** NOTE TO SPECIFIER ** 230 Volts AC 50 Hz is the standard power supply. For an additional cost, 120 Volts AC 60 Hz is available as an option in brackets.

Retain one of the two following subparagraphs that is appropriate for the project.

1. 230 Volts AC 50 Hz
2. [120 Volts AC 60 Hz]
AO. Nominal consumption in operation: 200 W maximum
2.010 PERFORMANCES
AP. Opening Time & Closing Time

1. The opening time of the doors shall be minimum 2.5 seconds
2. The closing time of the doors shall be minimum 2.5 seconds
AQ. MCBF: 1.000.000 average number of cycles between breakdowns, when respecting recommended maintenance

AR. Operating Temperatures: 0 to +50 degrees Celsius (+32 to +122 degrees Fahrenheit)
2.011 OPTIONAL EQUIPMENT
** NOTE TO SPECIFIER ** Delete the following subparagraph in brackets if no optional equipment is required, or add as necessary.
1. [Support post to accommodate user authentication device]
PART III – EXECUTION
2.012 INSPECTION
AS. Installer must examine the installation location and advise the Contractor of any site conditions inconsistent with proper installation of the product. These conditions include but are not limited to the following:
1. Swing gate must be installed on a level concrete pad
2. Power supply and control wiring must be installed. Follow manufacturer’s recommendations
AT. Proceed with installation only after unsatisfactory conditions have been corrected.

2.013 INSTALLATION
AU. Install swing gate in strict accordance with manufacturer’s instructions. Set units level. Anchor securely into place.
2.014 ADJUSTMENT
AV. Installer shall adjust swing gate for proper performance after installation.

2.015 INSTRUCTION
AW. A factory trained installer shall demonstrate to the owner’s maintenance crew the proper operation and the necessary service requirements of the equipment, including exterior maintenance. 

2.016 CLEANING
AX. Clean turnstile and area carefully after installation to remove excess caulk, dirt and labels.

2.017 MAINTENANCE
AY. Maintain the equipment according to the manufacturer’s instructions.
Automatic Systems reserves the right to change this specification at any time without notice.
END OF SECTION

SL930-ES-EN-00

                                                                                      SECTION 11 14 00 - 1
SL930-ES-EN-00

                                                                                      SECTION 11 14 00 - 2

[image: image1.png]