[image: image1.png]AUTOMATIC
SISYSTEMS

[[EIR GROUP






ENGINEERING SPECIFICATIONS
TR 490 Waist-Height Tripod Turnstile
SECTION 11 14 00– Pedestrian Access Control Equipment (Gates/Turnstiles)

PART I – GENERAL
1.01 SECTION INCLUDES

A. This section covers the furnishing and installation of a Waist-Height Tripod Turnstile for pedestrian access control.
1.02 RELATED SECTIONS
** NOTE TO SPECIFIER ** Add required sections to this project

1.03 REFERENCES

B. The tripod turnstile shall be compliant with EC standards
1.04 SYSTEM REQUIREMENTS
C. The pedestrian waist-height tripod turnstile shall control and be able to restrict pedestrian traffic between public and secure areas

D. Shall feature normally closed rotating obstacle to securely block the pedestrian’s path and prevent access in restricted areas without authorisation

E. Shall be manually operated and bidirectional, allowing traffic in both directions. Each direction shall be independently configurable in one of the three states:

1. Free: all persons are authorised to pass under all conditions

2. Controlled: each person must present a valid mean of authentication to the reader before being authorised to pass

3. Locked: no persons are authorised to pass, and authentication means are ignored

F. Shall be configurable in Fail-Safe or Fail-Lock mode in case of power failure
G. Design of the unit shall be spacious enough to accommodate two (2) readers (one for each direction) and able to integrate the reader into its housing or to accommodate a top-mounted reader

H. Shall be designed to guarantee user safety and ease of passage
I. Shall be suitable for outdoor installations
1.05 SUBMITTALS

J. Submit product data: equipment description, dimensions, electrical wiring diagrams for installation, and manufacturer's technical manuals on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation methods.
4. Operation and maintenance manuals.

K. Provide shop drawings and indicate component connections and location, anchorage methods and location, and installation details.

1.06 DELIVERY, STORAGE AND HANDLING

L. Deliver equipment to job site in manufacturer’s packaging, undamaged and complete with installation instructions.

M. Store off of the ground, under cover, protected from weather, construction activities and debris.

1.07 PROJECT/SITE CONDITIONS

N. Install tripod turnstile on a level finished floor.
1.08 QUALITY ASSURANCE

O. All components and sub-assemblies shall be manufactured in the European Union

P. Manufacturer Qualifications: 

1. Manufacturer shall be a company specialising in designing and manufacturing tripod turnstiles with a proven minimum experience of fifteen (15) years

2. Manufacturer with well-proven experience in public transport is recommended

3. Manufacturer shall have a Quality Management System compliant with ISO 9001:2000.

Q. Source Limitations: obtain Tripod Turnstiles through one source from Automatic Systems.

1.09 WARRANTY

R. Automatic Systems warranties its products against defects in material and workmanship for a period of two (2) years from the date of invoicing. This warranty excludes normal wear on finishes or damage that occurs due to abuse or misuse. Obtain full warranty terms from Automatic Systems.
PART II – PRODUCTS
2.01 MANUFACTURERS
S. Manufacturers: subject to compliance with requirements, provide products by one of the following:

1. AUTOMATIC SYSTEMS, 5 Avenue Mercator, 1300 Wavre, BELGIUM


Phone : +32-(0)10 230 211   Fax : +32-(0)10 230 202


Homepage : www.automatic-systems.com   E-mail : asmail@automatic-systems.com
T. Products:

1. Waist-Height Tripod Turnstile, Model TR 490
2.02 CONSTRUCTION

U. Housing
1. Shall have two-legged cabinet
2. To be manufactured from brushed one and one half (1.5) mm thick stainless steel type AISI 316

3. Upper lid shall be key-locked

V. Base columns
1. To be manufactured from brushed one and one half (1.5) mm thick stainless steel type AISI 316

2. Shall be angular in shape
W. Arms
1. To be manufactured from brushed stainless steel type AISI 304

2. Shall be 480 mm (18 8/9 in) long

X. Enclosure

1. Design of the unit’s enclosure shall ensure an IP 43 degree of protection

2.03 DIMENSIONS
Y. Lane width: 
1. 500 mm (19 2/3 in)
Z. Dimensions:
1. Length: 1220 mm (48 in) maximum
2. Height: 1000 mm (39 3/8 in) maximum
3. Width: 265 mm (10 3/7 in) maximum
2.04 OPERATION

AA. The unit shall be manually operated in both directions
AB. Normal Operation (available for “Controlled” operating mode)
1. In stand-by position, the passageway shall be securely blocked by means of mechanically locked horizontal arm
2. Upon receipt of opening pulse from the access control system the mechanism shall unlock, consequently the user can manually operate the obstacle in the authorised direction
3. The arm immediately lock after passage or after an adjustable time-out
AC. Power Failure

** NOTE TO SPECIFIER ** Select and retain one of the following two (2) subparagraphs that is appropriate to this project.
1. In case of power failure, the obstacle is unlocked and freely rotates to allow an easier exit (Fail-Safe). After the power supply has been restored, the unit shall return to its previous operating mode.

2. In case of power failure, the obstacle is mechanically locked in the neutral position (Fail-Lock). After the power supply has been restored, the unit shall return to its previous operating mode.
AD. Emergency Operation

1. The unit shall have an input in order to receive the “fire alarm” signal. When the emergency signal is activated, the obstacle rotates freely in both directions A and B. This operating mode continues as long as the emergency signal is active. After the emergency signal has been turned off, the unit shall return in its previous operating mode.
2.05 SECURITY
AE. Shall provide three (3) sturdy steel arms to securely block the passageway and ensure single-user throughput
AF. Arms shall be non-removable without appropriate tools

AG. Shall have mechanical locking integrated. The arms shall be mechanically blocked in the rest position to prevent any attempted break-in (only if at least one direction of passage is controlled) and to prevent two (2) passages at one time
AH. Passage shall be electronically controlled and independently configurable in both directions:
1. Free access
2. Permanently locked

3. Passage subject to authorisation
AI. Shall feature an anti-pass back mechanism that prevents reverse rotation of the obstacle position to deter any unauthorised use and fraud in the opposite direction
AJ. Shall be equipped with a self-centering mechanism to ensure that rotating obstacle returns to the reset position after passage
2.06 ERGONOMICS
AK. Shall have three (3) arms spaced at 120° to allow comfort and ease of passage
AL. Shall be cushioned by a hydraulic shock absorber to insure a smooth, silent and progressive movement

AM. Inactive arms shall not hinder the passageway for ease of passage

2.07 PEDESTRIAN GUIDANCE
** NOTE TO SPECIFIER ** Tripod turnstile is not equipped with visual notification as a standard. For an additional cost, orientation pictograms are available as options in brackets.

Delete the following subparagraph if no visual notification is required, or retain as necessary.
AN. Visual notification with clear graphics shall be incorporated into each passageway (one for each direction) to provide status of the lane, to control flow and to warn users
2.08 CONTROLLER
AO. Microprocessor-based controller with the following characteristics:
1. DIP switches to set the main operating modes and functional parameters

2. LED indicators showing the status of the inputs and outputs
2.09 POWER SUPPLY
AP. Power supply:

** NOTE TO SPECIFIER ** Retain one (1) of the following two (2) subparagraphs to select power supply
1. 230 Volts AC 50/60 Hz
2. 120 Volts AC 60 Hz

AQ. Nominal consumption in operation: 30 W maximum

2.010 PERFORMANCES
AR. MCBF: 2.000.000 average number of cycles between breakdowns, when respecting recommended maintenance

AS. Operating Temperatures: -10 to +50 degrees Centigrade (+14 to +122 degrees Fahrenheit)
2.011 OPTIONAL EQUIPMENT
** NOTE TO SPECIFIER ** Delete the following subparagraphs if no optional equipment is required, or add as necessary.
1. [Heating resistance for operation to -20 degrees Celsius (-29 degrees Fahrenheit)]
2. [Token /coin acceptor and coins]
PART III – EXECUTION
2.012 INSPECTION
AT. Installer must examine the installation location and advise the Contractor of any site conditions inconsistent with proper installation of the product. These conditions include but are not limited to the following:
1. Tripod turnstile must be installed on a level concrete pad
2. Power supply and control wiring must be installed. Follow manufacturer’s recommendations
AU. Proceed with installation only after unsatisfactory conditions have been corrected.

2.013 INSTALLATION
AV. Install tripod turnstile in strict accordance with manufacturer’s instructions. Set units level and plumb. Anchor securely into place.
2.014 ADJUSTMENT
AW. Installer shall adjust tripod turnstile for proper performance after installation.

2.015 INSTRUCTION
AX. A factory trained installer shall demonstrate to the owner’s maintenance crew the proper operation and the necessary service requirements of the equipment, including exterior maintenance. 

2.016 CLEANING
AY. Clean turnstile and area carefully after installation to remove excess caulk, dirt and labels.

2.017 MAINTENANCE
AZ. Maintain the equipment according to the manufacturer’s instructions.
Automatic Systems reserves the right to change this specification at any time without notice.
END OF SECTION

TR490-ES-EN-00

                                                                                      SECTION 11 14 00 - 1
TR490-ES-EN-00

                                                                                      SECTION 11 14 00 - 2

[image: image1.png]